Date: November 7, 2025

STAFF REPORT

SUMMARY OF APPLICATION AND RECOMMENDATIONS

File/Permit Number(s):	SHLN-2025-0003 Shoreline Substantial Development Permit

PLAN2-2025-0017 Administrative Special Use Permit

Recommendation:	Approval with conditions

Project Lead:	Leah Forbes, AICP, Senior Planner

GENERAL INFORMATION

Owner:

Blanchard Edison Water Association

David Lohman

PO Box 38

Bow, WA 98232

manager@blanchardedisonwater.com

Applicant:

Chuckanut Water, LLC

John Pickett

17531 W. Big Lake Blvd

Mount Vernon, WA 98274

jhnpcktt@gmail.com

Contact:

John B. Semrau, PE & PLS

Semrau Engineering and Surveying

22218 Riverside Drive Suite 209

Mount Vernon, WA 98273

john@semrau.com

Consultant:

Graham Bunting Associates

Oscar Graham & Pat Bunting

3643 Legg Road

Bow, WA 98232

gba@wavecable.com

Project Location: The proposed project is located within Sections 16, 21, and 22, Township 36 North, Range 3 East, W.M. Work begins 0.25 miles north of the intersection of Legg and Blanchard Roads, proceeds north on Blanchard Road to the intersection with Chuckanut Drive (State Route 11), then north on Chuckanut Drive 0.10 miles, terminating at 2937 Chuckanut Drive, Skagit County, WA.

Comprehensive Plan/Zoning Designation: Agriculture-Natural Resource Land, Rural Reserve, Rural Business, Secondary Forest-Natural Resources Land

Water Supply: Blanchard Edison Water Association

Sewage Disposal: N/A

Fire Protection: Fire District 5

Law Enforcement Jurisdiction: Skagit County Sheriff

Topography: The Project begins on a fairly flat roadside shoulder before crossing into the pavement surface as it gains elevation on Blanchard Road before coming back down to the east side of Chuckanut Drive.

Adjacent Land Uses: Agricultural, residential, recreational, rural business

SEPA Review/Determination: Determination of Nonsignificance issued June 26, 2025

Comment period ended July 10, 2025, no comments received

Appeal period ended July 24, 2025, no appeal received

Shoreline Designation: Rural

Shoreline of Statewide Significance: No

Notice Information:	Applications Submitted: April 1, 2025

Completeness Determination: May 7, 2025 (SCC 14.06.310(3)(d))

Notice of Application:

Posting:	May 13, 2025

Intersection of Blanchard Road and Legg Road

3056 Chuckanut Drive

Publication:	May 15, 2025 & May 22, 2025

Skagit Valley Herald

Comment Period Ends: June 23, 2025

TABLE OF CONTENTS

Contents

ACRONYMS	4

EXHIBITS	5

CODE REFERENCES	6

NATURE OF APPLICATION	7

GENERAL REGULATORY CODE ANALYSIS AND FINDINGS	8

SPECIAL USE PERMIT REQUIREMENTS (SCC 14.16.900	10

SHORELINE MASTER PROGRAM (SCC 14.26	12

PUBLIC COMMENT	15

AGENCY COMMENTS	15

DEPARTMENT RECOMMENDATION	16

RECOMEMENDED CONDITIONS OF APPROVAL	16

APPEAL RIGHTS	17

# ACRONYMS

Ag-NRL		Agriculture-Natural Resource Lands

BEWA		Blanchard Edison Water Association

CAO		Critical Areas Ordinance

DNR 		Department of Natural Resources

DNS		Determination of Nonsignificance

HPA		Hydraulic Project Approval

PDS		Planning and Development Services

ROW		Right-of-way

RB		Rural Business

RRv		Rural Reserve

SCC		Skagit County Code

SEPA		State Environmental Policy Act

SF-NRL		Secondary Forest-Natural Resource Lands

SMP		Shoreline Master Program

Type S		Shoreline water

WDFW		Washington State Department of Fish and Wildlife

# EXHIBITS

- Special Use Permit Narrative

- Shoreline Substantial Development Permit Narrative

- JARPA

- Construction plans

- Vicinity map

- SEPA Environmental Checklist

- Critical Areas Site Assessment

- Notice of Development Application

- Public comment

- Determination of Nonsignificance

- Notice of Public Hearing

- Staff Report

# CODE REFERENCES

Skagit County Title 12 – Health, Welfare and Sanitation

12.05	Onsite Sewage Code – Rules and Regulations

12.48	Rules and Regulations of the Skagit County Board of Health Governing Individual and Public Drinking Water Systems

Skagit County Title 14 – Unified Development Code:

SCC 14.04.020		Definitions

SCC 14.06.310		Determination of completeness

SCC 14.06.330		Public notice requirements

SCC 14.16		Zoning

SCC 14.16.150		Rural Business

SCC 14.16.320		Rural Reserve

SCC 14.16.400		Agriculture-Natural Resource Lands

SCC 14.16.420		Secondary Forest-Natural Resource Lands

SCC 14.16.840		Performance standards

SCC 14.16.900		Special use permit requirements

SCC 14.22		Land Disturbance

SCC 14.24		Critical Areas Ordinance

SCC 14.26		Shoreline Master Program

Chapter 7.18		Utilities

SCC 14.32		Stormwater Management

SCC 14.34		Flood Damage Prevention

Skagit County Title 16 - Environment

SCC 16.12		State Environmental Policy Act (SEPA)

# NATURE OF APPLICATION

Blanchard Edison Water Association (BEWA) is requesting a Shoreline Substantial Development Permit application SHLN-2025-0003 and an Administrative Special Use Permit application PLAN2-2025-0017 to upgrade 820 linear feet of 2-inch water main to an 8-inch water main and extend the new 8-inch line approximately 1340 linear feet. The extension will upgrade five existing residential connections, add one commercial connection, and add four new residential connections. Five future residential connections have been included in the design to serve existing residences in the vicinity of the pipe and within the BEWA service area.

The proposed project occurs in Sections 16, 21, & 22, Township 36 North, Range 3 East, all in Skagit County. Work begins 0.25 miles north of the intersection of Legg and Blanchard Roads, across from 3305 Blanchard Road, and proceeds north on Blanchard to the intersection with Chuckanut Drive, then north along the east right-of-way line of Chuckanut Drive 0.10 miles, terminating at 2937 Chuckanut Drive.

# GENERAL REGULATORY CODE ANALYSIS AND FINDINGS

SCC 14.04		Definitions

Utility development: includes, but is not limited to, facilities and services that generate, transport, process, or store water, sewage, solid waste, electrical energy, communications and pipelines for fuel, oil, natural gas, and petroleum products. A utility development is one of the following types:

(1)    Minor utility development: an unmanned utility development designed to serve a small local community that would be considered a normal utility service for the area.

(2)    Major utility development: a utility development that is not a minor utility development or a major regional utility development.

(3)    Major regional utility development: a utility development that is designed to serve a region.

SCC 14.06.310	Determination of completeness

The application was determined to be complete for review on May 7, 2025 pursuant to SCC14.06.310(3)(d).

Meets? Yes

SCC 14.16		Zoning

SCC 14.16.150 Rural Business

14.16.150(3)(c) Minor utility development

SCC 14.16.320 Rural Reserve

14.16.320(3)(h) Minor utility development

SCC 14.16.400 Agriculture-Natural Resource Lands

14.16.400(3)(g) Minor utility development

SCC 14.16.420 Secondary Forest-Natural Resource Lands

14.16.420(3)(e) Minor utility development

Analysis: The four zones that encompass the proposed water line extension allow for minor utility development as an Administrative Special Use permit.

Meets? Yes

SCC 14.16.840	Performance standards

14.16.840 Performance standards.

(1)    Purpose. It is intended that all activities and land uses within Skagit County adhere to a common standard of environmental performance criteria.

(2)    Vibration. Every use shall be so operated that the ground vibration inherently and/or recurrently generated from use and/or equipment other than vehicles is not perceptible without instruments at any point on or beyond any zone district boundary in which the use is located.

Analysis: During construction, working machinery will generate intermittent vibrations but no vibrations are expected from completed project.

Meets? Yes

(3)    Heat, Glare and Steam. Any activity producing steam, heat or glare shall be carried on in such a manner that the steam, heat or glare shall not create a nuisance beyond the boundary lines of the property within which the use is located. Building materials with high light reflective qualities shall not be used in construction of buildings where reflected sunlight would throw intense glare on adjacent areas. Artificial lighting shall use full cut-off fixtures so that direct light from high intensity lamps will not result in glare. Lighting shall be directed away from adjoining properties so that not more than 1-foot candles of illumination leaves the property boundaries.

Analysis: The completed project is not expected to produce any discernable heat, glare, steam, electrical disturbance, or noise.

Meets? Yes

(4)    Electrical Disturbance. No activity shall emit electrical disturbance adversely affecting the operation of equipment or appliances at any point beyond the boundaries of the location site of the use creating such disturbance.

Analysis: The completed project is not expected to produce any electrical disturbance.

Meets? Yes

(5)    Noise. Unless additional regulations are adopted by Skagit County pertaining to noise emissions, the maximum permissible environmental noise levels to be emitted to adjacent properties are not to exceed levels of the environmental designations for noise abatement (EDNA) as established by the State of Washington, Department of Ecology as now exist in Chapter 173-60 WAC, or as hereafter amended; provided, that EDNA classifications will conform to certain zone designations established under this Title as follows:

(a)    Class A EDNA: Residential Use Zones (RI, RVR, RRv, R, URR);

(b)    Class B EDNA: Commercial Zones (RVC, RC, RFS, SRT, SSB, RB, BR-LI, AVR, URC-I), Public Use Zones OSRSI and URP-OS; and

(c)    Class C EDNA: Industrial Zones (NRI, RMI, BR-HI), Forestry Zones (IF-NRL, SF-NRL, RRc-NRL), Agricultural Zone (Ag-NRL). (Ord. O20070009 (part); Ord. 17938 Attch. F (part), 2000)

Analysis: Construction equipment would create temporary noise impacts at the site. These would occur during normal operation hours, 8 am to 5 pm, Monday through Friday. After construction, no non-typical residential land use noise generation is expected.

During construction, the contractor will schedule work during the hours of 8am to 5pm, Monday through Friday. As the project is rural, minimal noise disturbance to residents is expected.

Meets? Yes

SCC 14.24		Critical Areas Ordinance

SCC 14.24.040(3) Jurisdictional Substitution. In cases where other agencies possess jurisdictional control over critical areas and it is determined by the Director that the permit conditions satisfy the requirements of this Chapter, those requirements may substitute for the requirements of this Chapter. Such requirements shall be a condition of critical areas approval and be enforceable by the County. Such agencies may include, but are not limited to, the United States Army Corps of Engineers, Environmental Protection Agency, and Fish and Wildlife Service; local Tribes, and the Washington State Department of Ecology, Department of Natural Resources and Department of Fish and Wildlife. The County shall notify the applicant in writing when any such substitution is made.

Analysis: The majority of the work proposed is within road rights-of-way. Steep slopes exceeding 2:1 exist on each side of the road, but all work in these steep areas occurs within the existing road surface The only regulated critical area identified along the project course is a Type N stream. The proposal requires a Hydraulic Project Approval (HPA) from WDFW to cross this Type N stream. Conditions of HPA approval are considered conditions of this permit approval.

Meets? Yes

SCC 16.12		State Environmental Policy Act (SEPA)

- SEPA Threshold Determination: Determination of Nonsignificance

  - Threshold Determination Issued: June 26, 2025

  - Public Comment Period: July 10, 2025

  - Public Comments: None

  - Appeal Period: July 24, 2025

  - Appeals: None

SPECIAL USE PERMIT REQUIREMENTS (SCC 14.16.900)

The proposed water line extension is an unmanned utility development designed to serve a small local community that would be considered a normal utility service for the area. It is considered a minor utility development.

SCC 14.16.900 does not list specific criteria for minor utility development.

SCC 14.16.900(1)(a) Purpose: To provide a means to recognize and approve land uses not specifically identified as allowed uses. A special use permit must demonstrate that the proposed activity will not adversely affect or prevent those uses normally allowed within the respective district.

SCC 14.19.900(1)(b)(v). The burden of proof shall be on the applicant to provide evidence in support of the application. The criteria for approval or denial shall include the following:

(A)    The proposed use will be compatible with existing and planned land use.

Analysis: The waterline extension will serve an existing need for water service and provide future users within the established service area with a safe and reliable public drinking water source. This will eliminate the need for residents to utilize wells and spring sources. WRIA 1, including the entire project area is currently undergoing an adjudication process which has the potential to limit use of wells and other water sources. Wells in this area can be impacted by seawater intrusion as well as contribute to seawater intrusion of other drinking water sources. While measures have been designed to avoid and minimize impacts, the project itself is beneficial to the environment and citizens of the area.
Meets? Yes

(B)    The proposed use complies with the Skagit County Code.

Analysis: The four zones that encompass the proposed water line extension allow for minor utility development as an Administrative Special Use permit.

Compliance with the Critical Areas regulations will be achieved using Jurisdictional Substitution (SCC 14.24.040(3)).

Per the Skagit County Shorelines Plan Section 7.18 UTILITIES: water lines are subject to the General and Tabular Regulations (Table U). Buried utility lines do not have required shoreline setbacks.

The proposed waterline will meet all required setbacks under SCC 12.05 and 12.48.

Meets? Yes

(C)    The proposed use will not create undue noise, odor, heat, vibration, air and water pollution impacts on surrounding, existing, or potential dwelling units, based on the performance standards of SCC 14.16.840.

Analysis: Construction equipment would create temporary noise impacts at the site. These would occur during normal operation hours, 8 am to 5 pm, Monday through Friday. After construction, no non-typical residential land use noise generation is expected.

During construction, dust from construction activities and exhaust from construction vehicles will be emitted. Basic TESC (temporary erosion and sedimentation control) BMPs (best management practices) including dust control will be used to limit effects.

During construction, working machinery will generate intermittent vibrations but no vibrations are expected from completed project.

The completed project is not expected to produce any discernable vibration, heat, glare, steam, electrical disturbance, or noise.

Meets? Yes

(D)    The proposed use will not generate intrusions on privacy of surrounding uses.

Analysis: Portions of the proposed water main and construction process NOT within the County road ROW will be on permanent private utility easements and temporary construction easements. All easements will be granted to BEWA for future maintenance and operation.

Meets? Yes

(E)    The proposed use will not cause potential adverse effects on the general public health, safety, and welfare.

Analysis: There are no foreseen adverse effects on general public health, safety, and welfare from the completed project.

Meets? Yes

(F)    For special uses in Industrial Forest—Natural Resource Lands, Secondary Forest—Natural Resource Lands, Agricultural—Natural Resource Lands, and Rural Resource—Natural Resource Lands, the impacts on long-term natural resource management and production will be minimized.

Analysis: Proposed water main work lies mostly in the existing road ROW between Ag-NRL and RRv. Project only enters SF-NRL for several feet at the north end of the proposed main. Extension of the proposed line will serve residential and commercial uses which will not impact long-term natural resource management or production.

Meets? Yes

(G)    The proposed use is not in conflict with the health and safety of the community.

Analysis: Project will be reviewed by both Washington State Department of Health

and the Skagit County Health Department.

Meets? Yes

(H)    The proposed use will be supported by adequate public facilities or services and will not adversely affect public services to the surrounding areas, or conditions can be established to mitigate adverse impacts on such facilities.

Analysis: No adverse effects from completed project foreseen. The proposed waterline is a public facility that will improve service in the surrounding area.

Meets? Yes

(I)    The proposed use will maintain the character, landscape and lifestyle of the rural area. For new uses, proximity to existing businesses operating via special use permit shall be reviewed and considered for cumulative impacts.

Analysis: Proposed water main improvements are to provide water service to existing residential housing and commercial property. No change foreseen.

Meets? Yes

SHORELINE MASTER PROGRAM (SCC 14.26)

A shoreline substantial development permit application is required because the structures are not listed as exempt, and the fair market value exceeds $8,504 (SCC 14.26.2.05, WAC 173-27-040(2)(a)). The application has been reviewed for consistency with the SMMP policies for utilities. Based on the information provided, this project is in compliance with all applicable shoreline policies.

Utilities include but are not necessarily limited to facilities and services that generate, transport, process, or store water, sewage, solid waste, electrical energy, communications and pipelines for fuel, oil, natural gas, and petroleum products. Also included are fire fighting facilities and administrative structures associated with the operation of the utilities.

2. REGULATIONS

A. Shoreline Area

(3) Rural

a. Utility development is permitted subject to the General and Tabular Regulations EXCEPT for the below.

b. Aerial power transmission cable and pipeline crossings of the Rural Shoreline Area are permitted as a conditional use. Buried or submarine facilities are permitted subject to the General and Tabular Regulations.

c. All parallel and local distribution line crossings are permitted subject to the General and Tabular Regulations.

d. Hydroelectric generating facilities, including dams, are permitted as a conditional use.

e. Water treatment plants, sewage treatment plants, and sewage pump stations are allowed as a conditional use.

Meets? Yes. The buried waterline is a permitted development within the Rural shoreline area subject to the General and Tabular Regulations.

B. General

(1) Existing use areas - Utilities, specifically power, communications, pipelines, and fuel lines shall utilize existing rights-of-way, corridors, and/or bridge crossings and shall avoid duplication and construction of new or parallel corridors in all shoreline areas. Proposals for new corridors or water crossings must fully substantiate the infeasibility of existing routes.

The proposed waterline will be located within and immediately adjacent to existing roads. The small portion of the new line that is within a permanent utility easement outside of the existing road right-of-way is not location within shoreline jurisdiction.

(2) Prohibited utility developments - The following utility developments are not permitted to locate in shoreline areas:

a. solid waste disposal or treatment sites

b. electrical generating plants (except hydroelectric facilities)

c. power transmission and distribution substations

d. utility accessory uses and administrative structures

The proposed waterline is not a prohibited utility development.

(3) Floodplains, floodways

a. Floodplain - Utility development that would measurably and adversely affect flood levels and capacities is not permitted.

b. Floodway - Utility development that would in anyway adversely affect floodway characteristics and capacities is not permitted.

A small portion of the proposed waterline extension is located within the floodplain. Since it will be located entirely underground, it will not adversely affect flood levels or capacities.

(4) Underground utilities - All utilities for new subdivisions, mobile home parks, public and private recreation and second home developments, and planned unit developments (PUD) shall be installed underground in shoreline areas.

The proposed waterline extension will be located underground.

(5) Shore defense works - Utility developments shall be located and designed so as to avoid the use of any structural or artificial shore defense or flood protection works.

The proposed waterline will not require any use of structural or artificial shore defense or flood protection works since it will be located underground.

(6) Parking areas and access roads - Parking areas and access roads, unless stated elsewhere in this program, shall be setback landward of the primary utility facility EXCEPT for pipeline and electrical transmission cable right-of-way maintenance roads.

No permanent parking areas or access roads are proposed.

(7) Screening and buffer areas - Utility development allowed on shorelines shall utilize the setback areas for screening of facilities from water bodies. Need and/or type of screening shall be judged on a case by case basis. Such screening or buffer areas shall consist of native, self-sustaining vegetation to be planted immediately following utility construction or, in the case of existing vegetation, such vegetation shall be effectively maintained as screening.

Since the proposed waterline extension will be buried, no screening or buffer areas are required.

(8) Landfills - Landfilling of all shoreline areas for facility or line development purposes is not permitted.

The project does not include any landfilling of shoreline areas.

(9) Underground utility lines - For those utility lines allowed in or across shoreline areas and installed underground and/or underwater, the following standards shall apply:

a. Underwater utility lines shall enter and emerge inland from fresh and salt water banks, dikes, beaches, or shorelands.

b. Banks, dikes, beaches, or shorelands where such facilities enter or leave water bodies shall be returned to their pre-construction condition, stabilized with compatible, self-sustaining vegetation, and maintained in a safe condition.

c. Underground (or water) utility lines shall be completely buried under the river bed in all river or stream crossings EXCEPT where such lines may be affixed to a bridge structure and EXCEPT for appropriate water or sewage treatment plant intake pipes or outfalls.

The portion of the proposed waterline within shoreline jurisdiction will not enter the water and will be entirely located within the existing road right-of-way.

(10) Surface utility lines - For those utility lines allowed in or across shoreline areas and installed on the surface, the following standards shall apply:

a. Surface utility lines paralleling water bodies shall comply with the setback standards of the Tabular Regulations.

b. Surface utility lines shall minimize crossings of shoreline areas and will utilize the shortest, most direct route feasible.

c. Permitted water crossings requiring structural abutments or approach fills shall set back such facilities landward of the OHWM.

d. Permitted wetland crossings shall utilize pier or open pile techniques only. Landfills are not permitted.

The proposal does not include surface utility lines.

(11) Aerial utility lines - For those utility lines allowed in or across shoreline areas and installed in an aerial manner, the following shall apply:

a. Aerial utility lines shall minimize crossing of shoreline areas and will utilize existing crossings. See B. 1. Existing use areas, this section. All crossing shall utilize the shortest, most direct route feasible.

b. Aerial utility lines shall make maximum use of area topography to minimize visual contrasts.

The proposal does not include aerial utility lines.

Meets? Yes. The proposed waterline complies with the General Regulations for utility development within a Rural shoreline area.

C. Tabular Regulations

Table U establishes:

(1) Shore setbacks (in feet) from the OHWM, wetland edge, or bluff/cliff crest for:

a. Utility power transmission lines, buildings, parking areas, and accessory development except for buried and underwater cables, wiring, or pipelines.

b. Aerial electrical transmission cables and utility pipelines except for approved crossings. For existing roadways that parallel the shoreline, upland utility development (meaning upland of the roadway and immediate shore) shall meet the setback requirements of applicable Skagit County ordinances.

(2) Sideyard setbacks (in feet) for all utility development from side property lines except for power poles, transmission towers and other line structures.

(3) Height limit (in feet) measured from the average elevation of the area occupied by the structure for:

a. Utility buildings, storage tanks (water, nonchemical), accessory developments.

b. Electrical distribution poles (for local power needs).

Meets? Yes. The proposed water line extension will be buried so does not have a required setback pursuant to Table U.

# PUBLIC COMMENT

Sarah Smith

Boardmember, Blanchard Edison Water Association

14317 West Bow Hill Road

Bow, WA 98232

abnerravenwood@gmail.com

On behalf of the Board of Directors of the Blanchard Edison Water Association, I would like to take this opportunity to emphasize our optimism for the positive impact this water main upgrade and extension will bring. As an Association, we are continually endeavoring to replace aged infrastructure, which this project certainly will do. We are also aware of the great need for water supply to the commercial operations along the planned route. The Chuckanut Manor is a long-standing and cherished restaurant that will greatly benefit from a connection to the Blanchard Edison Water Association. We have been aware for a number of years of that business's desire to operate with a reliable water supply; we are pleased to be able to work towards that conclusion.

# AGENCY COMMENTS

Skagit County Public Works

The SEPA checklist and plans claim the water line will be installed under the road surface along steeper roadside conditions. This deviation to the Skagit County Utility Policy has not been requested or granted.

Skagit County Fire Marshal

Provide a minimum of one fire hydrant near the end of the extension to comply with Skagit County Code 15.04 Amendments to IFC.

Skagit County Public Health

Proposed water line must maintain a minimum 10-foot setback from existing septic drainfield on P47950.

# DEPARTMENT RECOMMENDATION

Based on a review of all submitted information and the above findings, Skagit County Planning and Development Services recommends approval of the Shoreline Substantial Development Permit, Shoreline Variance, Special Use Permit for the proposed waterline extension.

# RECOMEMENDED CONDITIONS OF APPROVAL

- The project must be commenced within 2 years of the shoreline permit approval and completed within 5 years (WAC 173-27-090(2)).

- The applicant must strictly adhere to the project information (site diagram) submitted for this proposal. If the applicant proposes any modification of the subject proposal, they must notify Planning and Development Services prior to the start of construction, or otherwise as soon as possible, in order for the Administrator to make decisions in accord with SCC 14.26, 9.13.

- The applicant must apply for and receive a Land Disturbance Permit prior to the start of construction to ensure compliance with SCC 14.22 and SCC 14.32.

- The applicant must receive approval for the proposed deviation from the Skagit County Utility Policy for the portion of the project proposing to install the water line under the road surface along steeper roadside conditions.

- The project must provide a minimum of one fire hydrant near the end of the extension to comply with Skagit County Code 15.04 Amendments to IFC.

- The proposed water line must maintain a minimum 10-foot setback from existing septic drainfields.

- The applicant must receive a Hydraulic Project Approval from the Washington State Department of Fish and Wildlife prior to the start of construction. The conditions of that approval are considered conditions of this approval pursuant to SCC 14.24.040(3).

- Inadvertent Discovery Plan. Compliance with all applicable laws pertaining to archaeological resources (RCW 27.53, 27.44 and WAC 25-48) and human remains (RCW 68.50) is required. Should archaeological resources (e.g. shell midden, faunal remains, stone tools) be observed during project activities, all work in the immediate vicinity should stop, and the area should be secured. The Washington State Department of Archaeology and Historic Preservation (Local Government Archaeologist, 360-586-3088) and the following Nations’ Tribal Historic Preservation Offices should be contacted immediately in order to help assess the situation and to determine how to preserve the resource(s):

Upper Skagit Indian Tribe

Scott Schuyler, Cultural Resources

sschuyler@upperskagit.com

Phone: 360-854-7009

Swinomish Indian Tribal Community

Josephine Jefferson, THPO

jjefferson@swinomish.nsn.us

Phone: (360) 466-7352

Samish Indian Nation

Jackie Ferry, THPO

jferry@samishtribe.nsn.us

Phone: 360-293-6404 ext. 126

# APPEAL RIGHTS

Substantial Development, Conditional Use or Variance Permit Appeals - Any person aggrieved by the granting, denying, rescinding or revision of a shoreline permit by the Skagit County Hearing Examiner may request a reconsideration before the Examiner or submit an appeal to the Board of Commissioners in accordance with Chapter 14.06.410 of the Skagit County Code, as amended, PROVIDED, all requests for reconsideration or appeals must be submitted in writing within five (5) days of the date of the Examiner's written decision or decision after reconsideration.

Any person aggrieved by the granting, denying, rescinding or revision of a shoreline permit may seek review from the State Shorelines Hearing Board by filing a written request for review with the Hearings Board within thirty (30) days of receipt by the Department of Ecology of the final order of the Hearing Examiner or Board of County Commissioners. The requester shall also file a copy of such request with the Department of Ecology, the Attorney General and the Board of County Commissioners. All procedures for appeals shall comply with RCW 90.58.180.

The applicant, any party of record, or any County department may appeal any final decision of the Hearing Examiner to the Skagit County Board of Commissioners pursuant to the provisions of SCC 14.06.110. The appellant shall file a written notice of appeal within 14 calendar days of the final decision of the Hearing Examiner, as provided in SCC 14.06.110(13) or SCC 14.06.120(9), as applicable.

Prepared By:   					Reviewed By:

_____________________________		_____________________________

Leah Forbes, AICP, Senior Planner		Allen Rozema, Assistant Director