## VOC Package
VOC Package
Analyte | Method | Practical Quantitation Limit |  | Unit Price
1,1,1,2-tetrachloroethane | EPA 8260B | 0.4 | µg/L
1,1,1-trichloroethane | EPA 8260B | 0.4 | µg/L
1,1,2,2-tetrachloroethane | EPA 8260B | 0.4 | µg/L
1,1,2-trichloroethane | EPA 8260B | 0.4 | µg/L
1,1,2-trichlorofluorotoluene (Freon-113) | EPA 8260B | 0.4 | µg/L
1,1-dichloroethane | EPA 8260B | 0.4 | µg/L
1,1-dichloroethene | EPA 8260B | 0.4 | µg/L
1,1-dichloropropene | EPA 8260B | 0.4 | µg/L
1,2,3-trichlorobenzene | EPA 8260B | 0.4 | µg/L
1,2,3-trichloropropane | EPA 8260B | 0.4 | µg/L
1,2,4-trichlorobenzene | EPA 8260B | 0.4 | µg/L
1,2,4-trimethylbenzene | EPA 8260B | 0.4 | µg/L
1,2-dibromo-3-chloropropane (DBCP) | EPA 8260B | 1 | µg/L
1,2-dichlorobenzene | EPA 8260B | 0.4 | µg/L
1,2-dichloroethane | EPA 8260B | 0.4 | µg/L
1,2-dichloropropane | EPA 8260B | 0.4 | µg/L
1,3,5-trimethylbenzene | EPA 8260B | 0.4 | µg/L
1,3-dichloropropane | EPA 8260B | 0.4 | µg/L
1,4-dichlorobenzene | EPA 8260B | 0.4 | µg/L
2,2-dichloropropane | EPA 8260B | 0.4 | µg/L
2-butanone | EPA 8260B | 2 | µg/L
2-chloroethyl vinyl ether | EPA 8260B | 0.1 | µg/L
2-chlorotoluene | EPA 8260B | 0.4 | µg/L
2-nitropropane | EPA 8260B | 10 | µg/L
2-phenylbutane | EPA 8260B | 0.4 | µg/L
4-chlorotoluene | EPA 8260B | 0.4 | µg/L
4-methyl-2-pentanone | EPA 8260B | 4 | µg/L
Acetone | EPA 8260B | 3 | µg/L
Acrolein | EPA 8260B | 4 | µg/L
Acrylonitrile | EPA 8260B | 1 | µg/L
Allyl chloride | EPA 8260B | 2 | µg/L
Benzene | EPA 8260B | 0.4 | µg/L
Bromobenzene | EPA 8260B | 0.4 | µg/L
Bromodichloromethane | EPA 8260B | 0.4 | µg/L
Bromomethane | EPA 8260B | 0.4 | µg/L
Carbon disulfide | EPA 8260B | 0.4 | µg/L
Carbon tetrachloride | EPA 8260B | 0.4 | µg/L
Chlorobenzene | EPA 8260B | 0.4 | µg/L
Chlorobromomethane | EPA 8260B | 0.4 | µg/L
Chlorodibromomethane | EPA 8260B | 0.4 | µg/L
Chlorodifluoromethane (Freon-22) | EPA 8260B | 0.4 | µg/L
Chloroethane | EPA 8260B | 0.4 | µg/L
Chloroform | EPA 8260B | 0.4 | µg/L
Chloromethane | EPA 8260B | 0.4 | µg/L
cis-1,2-dichloroethene | EPA 8260B | 0.4 | µg/L
cis-1,3-dichloropropene | EPA 8260B | 0.4 | µg/L
Cymene | EPA 8260B | 0.4 | µg/L
Dibromomethane | EPA 8260B | 0.4 | µg/L
Dichlorodifluoromethane (CFC-12) | EPA 8260B | 0.4 | µg/L
Dichloromethane | EPA 8260B | 0.4 | µg/L
Dichloromonofluoromethane (Freon-21) | EPA 8260B | 0.4 | µg/L
Diethyl ether | EPA 8260B | 0.4 | µg/L
Ethyl methacrylate | EPA 8260B | 2 | µg/L
Ethylbenzene | EPA 8260B | 0.4 | µg/L
Hexachloro-1,3-butadiene | EPA 8260B | 0.4 | µg/L
Hexachloroethane | EPA 8260B | 0.4 | µg/L
Isopropylbenzene | EPA 8260B | 0.4 | µg/L
m+p-xylene | EPA 8260B | 0.4 | µg/L
m-dichlorobenzene | EPA 8260B | 0.4 | µg/L
Methyl acrylate | EPA 8260B | 0.8 | µg/L
Methyl iodide | EPA 8260B | 5 | µg/L
Methyl methacrylate | EPA 8260B | 1 | µg/L
Methyl n-butyl ketone | EPA 8260B | 5 | µg/L
Methyl tert-butyl ether | EPA 8260B | 1 | µg/L
Methylacrylonitrile | EPA 8260B | 4 | µg/L
Naphthalene | EPA 8260B | 1 | µg/L
n-butyl chloride | EPA 8260B | 0.4 | µg/L
n-butylbenzene | EPA 8260B | 0.4 | µg/L
n-propylbenzene | EPA 8260B | 0.4 | µg/L
o-xylene | EPA 8260B | 0.4 | µg/L
Pentachloroethane | EPA 8260B | 0.4 | µg/L
Styrene (monomer) | EPA 8260B | 0.4 | µg/L
Tert-butylbenzene | EPA 8260B | 0.4 | µg/L
Tetrachloroethene | EPA 8260B | 0.4 | µg/L
Tetrahydrofuran | EPA 8260B | 3 | µg/L
Toluene | EPA 8260B | 0.4 | µg/L
Trans-1,2-dichloroethene | EPA 8260B | 0.4 | µg/L
Trans-1,3-dichloropropene | EPA 8260B | 0.4 | µg/L
Trans-1,4-dichlorobutene | EPA 8260B | 5 | µg/L
Tribromomethane (Bromoform) | EPA 8260B | 0.4 | µg/L
Trichloroethene | EPA 8260B | 0.4 | µg/L
Trichlorofluoromethane (CFC-11) | EPA 8260B | 0.4 | µg/L
Vinyl Chloride | EPA 8260B | 0.4 | µg/L
|  |  | Total Package Cost | 0

## Low Level VOC Package
Low-level VOC Package |  |  |  |  | † As listed or equivalent
Analyte | Method | Practical Quantitation Limit |  | Unit Price
1,2-Dibromoethane | EPA 8260 SIM | 0.01 | µg/L
1,4-Dioxane | EPA 8260 SIM | 5 | µg/L
Acrylonitrile | EPA 8260 SIM | 0.05 | µg/L
Vinyl Chloride | EPA 8260 SIM | 0.01 | µg/L
|  |  | Total Package Cost | 0

## Landfill Packages
Landfill Package - Gibralter |  |  |  |  | † As listed or equivalent
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Alkalinity | SM2320 D | 5 | mg/L
Ammonia | SM 4500-NH3 G | 0.05 | mg/L
Bicarbonate | SM2320 B | 5 | mg/L
Chloride | EPA 300.0 | 0.5 | mg/L
Chemical Oxygen Demand | SM5220 D | 10 | mg/L
Nitrate-N | EPA 300.0 | 0.1 | mg/L
Nitrite-N | EPA 300.0 | 0.1 | mg/L
Sulfate | EPA 300.0 | 10 | mg/L
Total Organic Carbon | SM 5310 B | 0.5 | mg/L
Total Dissolved Solids | SM 2540 C | 20 | mg/L
Barium, dissolved | EPA 200.8/Field Filtered | 0.001 | mg/L
Chromium, dissolved | EPA 200.8/Field Filtered | 0.005 | mg/L
Copper, dissolved | EPA 200.8/Field Filtered | 0.005 | mg/L
Selenium, dissolved | EPA 200.8/Field Filtered | 0.005 | mg/L
Vanadium, dissolved | EPA 200.8/Field Filtered | 0.002 | mg/L
Zinc, dissolved | EPA 200.8/Field Filtered | 0.005 | mg/L
Aresnic | EPA 200.8 | 0.001 | mg/L
Calcium | EPA 200.7 | 0.5 | mg/L
Iron | EPA 200.7 | 0.05 | mg/L
Magnesium | EPA 200.7 | 0.5 | mg/L
Manganese | EPA 200.7 | 0.001 | mg/L
Potassium | EPA 200.7 | 0.5 | mg/L
Sodium | EPA 200.7 | 0.5 | mg/L
VOC Package | EPA 8260B | various
Low Level VOC Package | EPA 8260B SIM | various
|  |  | Total Package Cost | 0
Landfill Package - Sauk
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Alkalinity | SM2320 D | 5 | mg/L
Ammonia | SM 4500-NH3 G | 0.05 | mg/L
Bicarbonate | SM2320 B | 5 | mg/L
Chloride | EPA 300.0 | 0.5 | mg/L
Chemical Oxygen Demand | SM5220 D | 10 | mg/L
Nitrate-N | EPA 300.0 | 0.1 | mg/L
Nitrite-N | EPA 300.0 | 0.1 | mg/L
Sulfate | EPA 300.0 | 10 | mg/L
Total Organic Carbon | SM 5310 B | 0.5 | mg/L
Total Dissolved Solids | SM 2540 C | 20 | mg/L
Iron, dissolved | EPA 200.7/Field Filtered | 0.05 | mg/L
Manganese, dissolved | EPA 200.7/Field Filtered | 0.005 | mg/L
Calcium | EPA 200.7 | 0.5 | mg/L
Magnesium | EPA 200.7 | 0.5 | mg/L
Potassium | EPA 200.7 | 0.5 | mg/L
Sodium | EPA 200.7 | 0.5 | mg/L
VOC Package | EPA 8260B | various | mg/L
Low Level VOC Package | EPA 8260B SIM | various | mg/L
|  |  | Total Package Cost | 0
Landfill Package - Inman
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Alkalinity | SM2320 D | 5 | mg/L
Ammonia | SM 4500-NH3G | 0.05 | mg/L
Bicarbonate | SM2320 B | 5 | mg/L
Chloride | EPA 300.0 | 0.5 | mg/L
Chemical Oxygen Demand | SM5220 D | 10 | mg/L
Nitrate-N | EPA 300.0 | 0.1 | mg/L
Nitrite-N | EPA 300.0 | 0.1 | mg/L
Sulfate | EPA 300.0 | 10 | mg/L
Total Dissolved Solids | SM 2540 C | 20 | mg/L
Total Organic Carbon | SM5310 B | 0.5 | mg/L
Cadmium, dissolved | EPA 200.8/Field Filtered | 0.001 | mg/L
Arsenic | EPA 200.8 | 0.001 | mg/L
Calcium | EPA 200.7 | 0.5 | mg/L
Iron | EPA 200.7 | 0.5 | mg/L
Magnesium | EPA 200.7 | 0.5 | mg/L
Manganese | EPA 200.7 | 0.001 | mg/L
Potassium | EPA 200.7 | 0.5 | mg/L
Sodium | EPA 200.7 | 1 | mg/L
VOC Package | EPA 8260 B | various
Low Level VOC Package | EPA 8260B SIM | various
Gamma Spectral Analysis | 901.1
|  |  | Total Package Cost with Gamma Spectral Analysis | 0
|  |  | Total Package Cost without Gamma Spectral Analysis | 0
Landfill Package - Sinnes
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Alkalinity | SM2320 D | 5 | mg/L
Ammonia | SM 4500-NH3 G | 0.05 | mg/L
Bicarbonate | SM2320 B | 5 | mg/L
Chloride | EPA 300.0 | 0.5 | mg/L
Chemical Oxygen Demand | SM5220 D | 10 | mg/L
Nitrate-N | EPA 300.0 | 0.1 | mg/L
Nitrite-N | EPA 300.0 | 0.1 | mg/L
Sulfate | EPA 300.0 | 10 | mg/L
Total Organic Carbon | SM 5310 B | 0.5 | mg/L
Total Dissolved Solids | SM 2540 C | 20 | mg/L
Barium, dissolved | EPA 200.8/Field Filtered | 0.001 | mg/L
Iron, dissolved | EPA 200.7/Field Filtered | 0.05 | mg/L
Manganese, dissolved | EPA 200.7/Field Filtered | 0.005 | mg/L
Vanadium, dissolved | EPA 200.8/Field Filtered | 0.002 | mg/L
Zinc, dissolved | EPA 200.8/Field Filtered | 0.005 | mg/L
Calcium | EPA 200.7 | 0.5 | mg/L
Magnesium | EPA 200.7 | 0.5 | mg/L
Potassium | EPA 200.7 | 0.5 | mg/L
Sodium | EPA 200.7 | 0.5 | mg/L
VOC Package | EPA 8260B | various | mg/L
Low Level VOC Package | EPA 8260B SIM | various | mg/L
|  |  | Total Package Cost | 0
Landfill Package #3
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Alkalinity | SM 2320 B, EPA 310.1 | 5 | mg/L
Ammonia | SM4500-NH3G | 0.05 | mg/L
Bicarbonate | SM2320B | 5 | mg/L
Chloride | EPA 300 | 0.5 | mg/L
Chemical Oxygen Demand | SM 5220 D | 8 | mg/L
Nitrate-N | EPA 300 | 0.1 | mg/L
Nitrite-N | EPA 300 | 0.1 | mg/L
Sulfate | EPA 300 | 0.2 | mg/L
Total Dissolved Solids | SM 2540 C | 10 | mg/L
Total Organic Carbon | SM 5310 B | 0.5 | mg/L
Antimony, dissolved | EPA 6020, EPA 200.8 | 0.001 | mg/L
Arsenic, dissolved | EPA 200.8 | 0.001 | mg/L
Barium, dissolved | EPA 6020 | 0.001 | mg/L
Beryllium, dissolved | EPA 6020 | 0.001 | mg/L
Cadmium, dissolved | EPA 200.8 | 0.0005 | mg/L
Chromium, dissolved | EPA 6020 | 0.005 | mg/L
Cobalt, dissolved | EPA 6020 | 0.001 | mg/L
Copper, dissolved | EPA 6020 | 0.005 | mg/L
Iron, dissolved | EPA 200.7 | 0.05 | mg/L
Lead, dissolved | EPA 200.8 | 0.001 | mg/L
Manganese, dissolved | EPA 200.7 | 0.005 | mg/L
Mercury, dissolved | EPA 245.1 | 0.0005 | mg/L
Nickel, dissolved | EPA 6020 | 0.001 | mg/L
Selenium, dissolved | EPA 6020 | 0.005 | mg/L
Silver, dissolved | EPA 6020 | 0.001 | mg/L
Thallium, dissolved | EPA 6020 | 0.001 | mg/L
Vanadium, dissolved | EPA 6010 B | 0.01 | mg/L
Zinc, dissolved | EPA 200.8 | 0.005 | mg/L
Calcium | EPA 6010 B | 0.02 | mg/L
Magnesium | EPA 6010 B | 0.5 | mg/L
Potassium | EPA 6010 B | 0.5 | mg/L
Sodium | EPA 6010 B | 0.025 | mg/L
VOC Package | EPA 8260 B | various | mg/L
Low Level VOC Package | EPA 8260B SIM | various | mg/L
Gamma Spectral Analysis | 901.1
|  |  | Total Package Cost with Gamma Spectral Analysis | 0
|  |  | Total Package Cost without Gamma Spectral Analysis | 0

## Leachate Packages
Leachate Package |  |  |  |  | † As listed or equivalent
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Biological Oxygen Demand | SM5210 B | 1 | mg/L
Oil and Grease | EPA 1664 | 2.5 | mg/L
pH | SM4500-H+ B | NA
Total Suspended Solids | SM2540 D | 4 | mg/L
|  |  | Total Package Cost | 0
Leachate Package Annual
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Arsenic, Total | EPA 200.8 | 0.005 | mg/L
Total Suspended Solids | SM2540 D | 4 | mg/L
Biological Oxygen Demand | SM5210 B | 1 | mg/L
PCB-1242 | EPA 608.3 | 0.195 | ug/L
PCB-1254 | EPA 608.3 | 0.195 | ug/L
PCB-1221 | EPA 608.3 | 0.195 | ug/L
PCB-1232 | EPA 608.3 | 0.195 | ug/L
PCB-1248 | EPA 608.3 | 0.195 | ug/L
PCB-1260 | EPA 608.3 | 0.195 | ug/L
PCB-1016 | EPA 608.3 | 0.195 | ug/L
|  |  | Total Package Cost | 0

## Surface Water Packages
Fecal Pollution Package (FPP) |  |  |  |  | † As listed or equivalent
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
E. Coli | SM9221F | 2 | MPN/100mL
Fecal Coliform (MTF) | SM9221 E | 2 | MPN/100mL
|  |  | Total Package Cost | 0
FPP + Nutrient
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Ammonia | EPA 350.3 | 0.02 | mg/L
E.coli | SM9221F | 2 | MPN/100mL
Fecal Coliform (MTF) | SM9221 E | 2 | MPN/100mL
Nitrate + Nitrite | EPA 300.0 | 0.1 | mg/L
Ortho-Phosphate | SM4500-P F | 0.01 | mg/L
Total Phosphorous | EPA 365.1 | 0.01 | mg/L
Total Kjeldahl Nitrogen | SM4500-Norg C | 0.5 | mg/L
Total Suspended Solids | SM 2540 D | 2 | mg/L
|  |  | Total Package Cost | 0
Nutrient Package
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Ammonia | EPA 350.3 | 0.02 | mg/L
Nitrate + Nitrite | EPA 300.0 | 0.1 | mg/L
Ortho-Phosphate | SM4500-P F | 0.01 | mg/L
Total Phosphorous | EPA 365.1 | 0.01 | mg/L
Total Kjeldahl Nitrogen | SM4500-Norg C | 0.5 | mg/L
Total Suspended Solids | SM 2540 D | 2 | mg/L
|  |  | Total Package Cost | 0
Phosphorus Package
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Orthophosphate | SM4500-P F | 0.01 | mg/L
Total phosphorus | SM4500-P F | 0.01 | mg/L
|  |  | Total Package Cost | 0
Total Solids Package
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Total Dissolved Solids | SM 2540 C | 20 | mg/L
Total Suspended Solids | SM 2540 D | 4 | mg/L
|  |  | Total Package Cost | 0

## Cyanobacteria Packages
Cyanobacteria #1 Package |  |  |  |  | † As listed or equivalent
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Phosphorous, total | EPA 365.1 | 0.01 | mg/L
Chlorphyll-a | SM10200H | NA
|  |  | Total Package Cost | 0
Cyanobacteria #2 Package
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Orthophosphate | SM4500-P F | 0.01 | mg/L
Phosphorus, total | SM4500-P F | 0.01 | mg/L
Chlorophyll a | SM10200H | NA
|  |  | Total Package Cost | 0
Cyanobacteria #3 Package
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Nitrate + Nitrite | EPA 300 | 0.1 | mg/L
Ortho-Phosphate | SM4500-P F | 0.01 | mg/L
Phosphorous, total | EPA 365.1 | 0.01 | mg/L
Total Kjeldahl Nitrogen | SM4500-NorgC | 0.5 | mg/L
Ammonnia | EPA 350.3 | 0.02 | mg/L
Chlorophyll-a | SM10200H | NA
|  |  | Total Package Cost | 0
Alum Monitoring Package
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Dissolved Organic Carbon | SM5310 C | 0.5 | mg/L
Hardness | EPA 200.7 | 10 | mg/L as CaCO3
Aluminum | EPA 200.7 | 10 | ug/L
Alkalinity | SM2320 B | 5 | mg/L
Sulfate | EPA 300.0 | 0.2 | mg/L
|  |  | Total Package Cost | 0

## Stormwater
Stormwater Package #1 |  |  |  |  | † As listed or equivalent
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Ammonia | EPA 350.3 | 0.02 | mg/L
Boron | EPA 200.7 | 0.5 | mg/L
Chlorine | SM4500-Cl G | 0.02 | mg/L
E. coli | SM9221 F | 2 | MPN/100mL
Fecal Coliform | SM9221 E | 2 | MPN/100mL
Fluoride | EPA 300.0 | 0.1 | mg/L
Hardness | EPA 200.7 | 10 | mg/L as CaCO3
Potassium | EPA 200.7 | 0.5 | mg/L
Surfactants | EPA 425.1 | 0.1 | mg/L
|  |  | Total Package Cost | 0
Stormwater Package #2
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Ammonia | EPA 350.3 | 0.02 | mg/L
Boron | EPA 200.7 | 0.5 | mg/L
Chlorine | SM4500-Cl G | 0.02 | mg/L
Conductivity | SM 2510 B | 10 | uS/cm
E. coli | SM9221 F | 2 | MPN/100 mL
Fecal Coliform | SM9221 E | 2 | MPN/100 mL
Fluoride | EPA 300.0 | 0.1 | mg/L
Hardness | EPA 200.7 | 10 | mg/L as CaCO3
Herbicides | EPA 515.1, EPA 615 | Various
NWTPH-diesel in Water | NWTPH-Dx | 50 | mg/L
NWTPH-gasoline/MTBE in Water | NWTPH-GX | 50 | mg/L
Oil and Grease | EPA 1664 | 2.5 | mg/L
Pesticides | EPA 508, EPA 608 | 0.0005 | mg/L
Potassium | EPA 200.7 | 0.5 | mg/L
Surfactants | EPA 425.1 | 0.1 | mg/L
|  |  | Total Package Cost | 0
Stormwater Package #2 + Nutrients
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Ammonia | EPA 350.3 | 0.02 | mg/L
Boron | EPA 200.7 | 0.5 | mg/L
Chlorine | SM4500-Cl G | 0.02 | mg/L
Conductivity | SM 2510 B | 10 | uS/cm
E. coli | SM9221 F | 2 | MPN/100 mL
Fecal Coliform | SM9221 E | 2 | MPN/100 mL
Fluoride | EPA 300.0 | 0.1 | mg/L
Hardness | EPA 200.7 | 10 | mg/L as CaCO3
Herbicides | EPA 515.1, EPA 615 | Various
NWTPH-diesel in Water | NWTPH-Dx | 50 | mg/L
NWTPH-gasoline/MTBE in Water | NWTPH-GX | 50 | mg/L
Oil and Grease | EPA 1664 | 2.5 | mg/L
Pesticides | EPA 508, EPA 608 | 0.0005 | mg/L
Potassium | EPA 200.7 | 0.5 | mg/L
Surfactants | EPA 425.1 | 0.1 | mg/L
Nitrate + Nitrite | EPA 300 | 0.01 | mg/L
Total Kjeldahl Nitrogen | SM 4500 NorgC | 0.5 | mg/L
Ortho-Phosphate | EPA 300 | 0.1 | mg/L
Total Phosphorous | EPA 365.1 | 0.1 | mg/L
Total Suspended Solids | SM 2540 D | 4 | mg/L
|  |  | Total Package Cost | 0
Stormwater Package #2 + Metals
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Ammonia | EPA 350.3 | 0.02 | mg/L
Boron | EPA 200.7 | 0.5 | mg/L
Chlorine | SM4500-Cl G | 0.02 | mg/L
Conductivity | SM 2510 B | 10 | uS/cm
E. coli | SM9221 F | 2 | MPN/100 mL
Fecal Coliform | SM9221 E | 2 | MPN/100 mL
Fluoride | EPA 300.0 | 0.1 | mg/L
Hardness | EPA 200.7 | 10 | mg/L as CaCO3
Herbicides | EPA 515.1, EPA 615 | Various
NWTPH-diesel in Water | NWTPH-Dx | 50 | mg/L
NWTPH-gasoline/MTBE in Water | NWTPH-GX | 50 | mg/L
Oil and Grease | EPA 1664 | 2.5 | mg/L
| EPA 508, EPA 608 | 0.0005 | mg/L
Potassium | EPA 200.7 | 0.5 | mg/L
Surfactants | EPA 425.1 | 0.1 | mg/L
Copper | EPA 200.8 | 0.005 | mg/L
Lead, total | 6010B | 2 | mg/Kg
Zinc | 6010B | 2 | mg/Kg
|  |  | Total Package Cost | 0
Priority Poulltants Package
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Antimony | EPA 200.7 | 0.025 | mg/L
Arsenic | EPA 200.7 | 0.025 | mg/L
Beryllium | EPA 200.7 | 0.005 | mg/L
Cadmium | EPA 200.7 | 0.005 | mg/L
Chromium | EPA 200.7 | 0.005 | mg/L
Copper | EPA 200.7 | 0.005 | mg/L
Lead | EPA 200.8 | 0.001 | mg/L
Mercury | EPA 245.1 | 0.0005 | mg/L
Nickel | EPA 200.7 | 0.01 | mg/L
Selenium | EPA 200.7 | 0.025 | mg/L
Silver | EPA 200.7 | 0.01 | mg/L
Thallium | EPA 200.7 | 0.01 | mg/L
Zinc | EPA 200.8 | 0.05 | mg/L
|  |  | Total Package Cost | 0

## Stormwater - Soil
Street Waste Package
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Arsenic, total | 6010B | 2 | mg/Kg
Cadmium, total | 6010B | 2 | mg/Kg
Chromium, total | 6010B | 2 | mg/Kg
Lead, total | 6010B | 2 | mg/Kg
Nickel, total | 6010B | 2 | mg/Kg
Zinc, total | 6010B | 2 | mg/Kg
Mercury (inorganic) | 7471A | 0.03 | mg/Kg
PAHs | EPA 8270 C | 0.1 | mg/Kg
TPH (Heavy Fuel Oil) | NWTPH-Dx | 100 | mg/Kg
TPH (Diesel) | NWTPH-Dx | 40 | mg/Kg
TPH (Gasoline) | NWTPH-Gx | 25 | mg/Kg
BETX | EPA 8260 B | 0.2 | mg/Kg
|  |  | Total Package Cost | 0
RCRA 8 + 3 Package
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Arsenic, total | 6010B | 2 | mg/Kg
Barium | EPA 200.8 | 0.001 | mg/L
Cadmium, total | 6010B | 2 | mg/Kg
Chromium, total | 6010B | 2 | mg/Kg
Copper | EPA 200.8 | 0.005 | mg/L
Lead, total | 6010B | 2 | mg/Kg
Mercury (inorganic) | 7471A | 0.03 | mg/Kg
Nickel | 6010B | 2 | mg/Kg
Selenium | NWTPH-Dx | 100 | mg/Kg
Silver | NWTPH-Dx | 40 | mg/Kg
Zinc | 6010B | 2 | mg/Kg
0
RCRA 8 + 3 Package TCLP
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
TCLP Metals (Ni, Zn, Cu) | TCLP | 0.01 - 0.02 | mg/L
RCRA 8 Metals for Solids | TCLP | 0.0005 - 0.1 | mg/L
|  |  | Total Package Cost | 0

## Transfer Station Packages
Transfer Station Stormwater #1
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Copper | EPA 200.8 | 0.005 | mg/L
Fecal Coliform | SM9221 E | 2 | MPN/100mL
pH | SM4500-H+ B | NA
Turbidity | SM 2130 B | 0.1 | mg/L
Zinc | EPA 200.8 | 0.05 | mg/L
|  |  | Total Package Cost | 0
Transfer Station Stormwater #2 (+ E. coli)
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Copper | EPA 200.8 | 0.005 | mg/L
E. coli | SM9221F | 2 | MPN/100mL
Fecal Coliform | SM9221 E | 2 | MPN/100 mL
pH | SM4500-H+ B | NA
Turbidity | SM 2130 B | 0.1 | mg/L
Zinc | EPA 200.8 | 0.05 | mg/L
|  |  | Total Package Cost | 0
Transfer Station Stormwater #3 (+ Petroleum, Lead)
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
Copper | EPA 200.8 | 0.005 | mg/L
E. coli | SM9221F | 2 | MPN/100mL
Fecal Coliform | SM9221 E | 2 | MPN/100 mL
Lead | EPA 200.8 | 0.5 | ug/L
Petroleum (Diesel Fraction) | NWTPH-Dx | 0.1 | mg/L
pH | SM4500-H+ B | NA
Turbidity | SM 2130 B | 0.1 | mg/L
Zinc | EPA 200.8 | 0.05 | mg/L
|  |  | Total Package Cost | 0

## Individual Analytes - Water
Individual Analytes - Water |  |  |  |  | † As listed or equivalent
Analyte | Method† | Practical Quantitation Limit |  | Unit Price
1,1,1,2-Tetrachloroethane | EPA 8260B | 0.4 | ug/L
1,1,1-Trichloroethane | EPA 8260B | 0.4 | ug/L
1,1,2,2-Tetrachloroethane | EPA 8260B | 0.4 | ug/L
1,1,2-Trichloroethane | EPA 8260B | 0.4 | ug/L
1,1,2-Trichlorofluoroethane (Freon 113) | EPA 8260B | 0.4 | ug/L
1,1-Dichloroethane | EPA 8260B | 0.4 | ug/L
1,1-Dichloroethene | EPA 8260B | 0.4 | ug/L
1,1-Dichloropropene | EPA 8260B | 0.4 | ug/L
1,2,3-Trichlorobenzene | EPA 8260B | 0.4 | ug/L
1,2,3-Trichloropropane | EPA 8260B | 0.4 | ug/L
1,2,4-Trichlorobenzene | EPA 8260B | 0.4 | ug/L
1,2,4-Trimethylbenzene | EPA 8260B | 0.4 | ug/L
1,2-Dibromo-3-Chloropropane | EPA 8260B | 0.2 | ug/L
1,2-Dibromoethane (EDB) | EPA 8260SIM | 0.001 | ug/L
1,2-Dichlorobenzene | EPA 8260B | 0.4 | ug/L
1,2-Dichloroethane | EPA 8260B | 0.4 | ug/L
1,2-Dichloropropane | EPA 8260B | 0.4 | ug/L
1,3,5-Trimethylbenzene | EPA 8260B | 0.4 | ug/L
1,3-Dichloropropane | EPA 8260B | 0.4 | ug/L
1,4-Dichlorobenzene | EPA 8260B | 0.4 | ug/L
1,4-Dioxane | EPA 8260SIM | 5 | ug/L
2,2-Dichloropropane | EPA 8260B | 0.4 | ug/L
2-Butanone | EPA 8260B | 2 | ug/L
2-Chloroethyl Vinyl Ether | EPA 8260B | 1 | ug/L
2-Chlorotoluene | EPA 8260B | 2 | ug/L
2-Nitropropane | EPA 8260B | 2 | ug/L
2-Phenylbutane | EPA 8260B | 0.4 | ug/L
4-Chlorotoluene | EPA 8260B | 0.4 | ug/L
4-Methyl-2-Pentanone | EPA 8260B | 0.4 | ug/L
6PPD-Q | EPA Draft Method 1634 | < 2 | ng/L
Acetone | EPA 8260B | 2 | ug/L
Acrolein | EPA 8260B | 4 | ug/L
Acrylonitrile | EPA 8260B | 1 | ug/L
Acrylonitrile | EPA 8260SIM | 0.05 | ug/L
Alkalinity | SM 2320 B, EPA 310.1 | 5 | mg/L
Allyl Chloride | EPA 8260B | 0.4 | ug/L
Aluminum, total | EPA 200.7 | 10 | ug/L
Aluminum, dissolved | EPA 200.7 | 10 | ug/L
Ammonia | SM 4500-NH3 G, EPA 350.3 | 0.02 | mg/L
Anatoxin-a | EPA 545 | <0.05 | ug/L
Antimony, total | EPA 200.7 | 0.025 | mg/L
Antimony, total | EPA 200.8 | 0.001 | mg/L
Antimony, dissolved | EPA 200.8 | 0.001 | mg/L
Arsenic, total | EPA 200.7 | 0.025 | mg/L
Arsenic, total | EPA 200.8 | 0.001 | mg/L
Arsenic, dissolved | EPA 200.8 | 0.001 | mg/L
Asbestos | EPA 100.2 | 0.098 | MF/L, >10 um
Barium, total | EPA 200.8 | 0.001 | mg/L
Barium, dissolved | EPA 200.8 | 0.001 | mg/L
Benzene | EPA 8260B | 0.4 | ug/L
Beryllium, total | EPA 200.7 | 0.005 | mg/L
Beryllium, total | EPA 200.8 | 0.001 | mg/L
Beryllium, dissolved | EPA 6020 | 0.001 | mg/L
BETX | EPA 624 | 0.0005 | mg/L
Bicarbonate | SM 2320 B | 5 | mg/L
Biological Oxygen Demand (BOD) | SM 5210 B | 1 | mg/L
Boron | EPA 200.7 | 0.5 | mg/L
Bromate | EPA 317 | 0.5 | ug/L
Bromobenzene | EPA 8260B | 0.4 | ug/L
Bromochloromethane | EPA 8260B | 0.4 | ug/L
Bromodichloromethane | EPA 8260B | 0.4 | ug/L
Bromoform | EPA 8260B | 0.4 | ug/L
Bromomethane | EPA 8260B | 0.4 | ug/L
Cadmium, total | EPA 200.7 | 0.005 | mg/L
Cadmium, total | EPA 200.8 | 0.001 | mg/L
Cadmium, dissolved | EPA 200.8 | 0.001 | mg/L
Calcium | EPA 6010 B | 0.02 | mg/L
Carbon Disulfide | EPA 8260B | 0.4 | ug/L
Carbon Tetrachloride | EPA 8260B | 0.4 | ug/L
Chemical Oxygen Demand (COD) | SM 5220 D | 10 | mg/L
Chloramines | SM 4500-Cl G | 0.02 | mg/L
Chloride | EPA 300.0 | 0.5 | mg/L
Chlorine | SM 4500-Cl G | 0.02 | mg/L
Chlorine Dioxide | SM 4500-ClO2-D | 0.1 | mg/L
Chlorite | EPA 300.1 | 0.5 | mg/L
Chlorobenzene | EPA 8260B | 0.4 | ug/L
Chlorobromomethane | EPA 8260B | 0.4 | ug/L
Chlorodibromomethane | EPA 8260B | 0.4 | ug/L
Chlorodifluoromethane (Freon-22) | EPA 8260B | 0.4 | ug/L
Chloroethane | EPA 8260B | 0.4 | ug/L
Chloroform | EPA 8260B | 0.4 | ug/L
Chloromethane | EPA 8260B | 0.4 | ug/L
Chromium, total | EPA 200.7 | 0.005 | mg/L
Chromium, total | EPA 200.8 | 0.005 | mg/L
Chromium, dissolved | EPA 6020 | 0.005 | mg/L
Chlorophyll-a | SM10200H | NA
cis-1,2-dichloroethylene | EPA 8260B | 0.4 | ug/L
cis-1,3-dichloropropene | EPA 8260B | 0.4 | ug/L
Cobalt, dissolved | EPA 6020 | 0.001 | mg/L
Color | SM 2120 B | 5 | Color Units
Conductivity | SM 2510 B | 10 | uS/cm
Copper, total | EPA 200.7 | 0.005 | mg/L
Copper, total | EPA 200.8 | 0.005 | mg/L
Copper, dissolved | EPA 6020 | 0.005 | mg/L
Cyanide | SM 4500-CN F | 0.04 | mg/L
Cyanide | SM 4500-CN C | 0.005 | mg/L
Cymene | EPA 8260B | 0.4 | ug/L
Cylindrospermopsin | EPA 545 | <0.05 | ug/L
Dibromomethane | EPA 8260B | 0.4 | ug/L
Dichlorodifluoromethane (CFC-12) | EPA 8260B | 0.4 | ug/L
Dichloromethane | EPA 8260B | 0.4 | ug/L
Dichlorofluoromethane (Freon-21) | EPA 8260B | 0.4 | ug/L
Diethyl Ether | EPA 8260B | 0.4 | ug/L
Dioxin | EPA 1613 | 1 | pg/L
Dissolved Organic Carbon | SM 5310C | 0.5 | mg/L
Dissolved Oxygen | 360.1 | 0.5 | mg/L
E. coli (Colilert) | SM 9223 B | 2 | MPN/100mL
E. coli (Membrane filtration) | EPA 1603 | 2 | CFU/100mL
E. Coli (Multiple tube fermentation) | SM9221F | 2 | MPN/100mL
Ethyl Methacrylate | EPA 8260B | 2 | ug/L
Ethylbenzene | EPA 8260B | 0.4 | ug/L
Fecal Coliform (Mulitple tube fermentation) | SM9221 E/MTF | 2 | MPN/100 mL
Fecal Coliform (Membrane filtration) | SM 9222 D | 2 | CFU/100 mL
Fecal Streptococcus and Enterococcus Groups | SM9230B | 2 | MPN/100 mL
Fluoride | EPA 300.0 | 0.1 | mg/L
Gamma Spectral Analysis | EPA 901.1 | NA
Haloacetic acids (five) (HAA5) | EPA 552.2 | 1 | ug/L
Hardness | EPA 200.7 | 10 | mg/L as CaCO3
Herbicides | EPA 515.1, EPA 615 | Various
Hexachloro-1,3-butadiene | EPA 8260B | 0.4 | ug/L
Hexachloroethane | EPA 8260B | 0.4 | ug/L
Iron, total | EPA 200.7 | 0.05 | mg/L
Iron, dissolved | EPA 200.7 | 0.05 | mg/L
Isopropylbenzene | EPA 8260B | 0.4 | ug/L
Lanthanum, total | EPA 200.8 | <0.05 | ug/L
Lanthanum, dissolved | EPA 200.8 | < 0.05 | ug/L
Lead, total | EPA 200.8 | 0.001 | mg/L
Lead, dissolved | EPA 200.8 | 0.001 | mg/L
m+p-xylene | EPA 8260B | 0.4 | ug/L
m-Dichlorobenzene | EPA 8260B | 0.4 | ug/L
Magnesium | EPA 6010 B | 0.5 | mg/L
Manganese, total | EPA 200.8 | 0.001 | mg/L
Manganese, dissolved | EPA 200.7 | 0.001 | mg/L
Mercury, total | EPA 245.1 | 0.0002 | mg/L
Mercury, dissolved | EPA 245.1 | 0.0002 | mg/L
Methacrylonitrile | EPA 8260B | 1 | ug/L
Methyl Acrylate | EPA 8260B | 0.4 | ug/L
Methyl Iodide | EPA 8260B | 5 | ug/L
Methyl Methacrylate | EPA 8260B | 1 | ug/L
Methyl n-Butyl Ketone | EPA 8260B | 0.4 | ug/L
Methyl Tert-Butyl Ether | EPA 8260B | 1 | ug/L
Methylene Acrylonitrile | EPA 8260B | 0.4 | ug/L
Microcystin | EPA 544 | < 0.05 | ug/L
n-Butyl Chloride | EPA 8260B | 0.4 | ug/L
n-Butylbenzene | EPA 8260B | 0.4 | ug/L
Nickel, total | EPA 200.7 | 0.01 | mg/L
Nickel, total | EPA 200.8 | 0.001 | mg/L
Nickel, dissolved | EPA 6020 | 0.001 | mg/L
Nitrate+Nitrite | EPA 300 | 0.1 | mg/L
Nitrate-N | EPA 300 | 0.1 | mg/L
Nitrite-N | EPA 300 | 0.1 | mg/L
n-Propylbenzene | EPA 8260B | 0.4 | ug/L
Naphthalene | EPA 8260B | 0.4 | ug/L
NWTPH-diesel in Water | NWTPH-Dx | 50 | mg/L
NWTPH-gasoline/MTBE in Water | NWTPH-GX | 50 | mg/L
Oil and Grease | EPA 1664 | 2.5 | mg/L
Ortho-Phosphate | SM4500-P F | 0.01 | mg/L
o-Xylene | EPA 8260B | 0.4 | ug/L
PAHs | EPA 625 | 0.0001 | mg/L
PCBs | EPA 508, EPA 608 | 0.1 | mg/L
PFAs Suite (including PFOA, PFOs, PFNA, PFHxS, PFHpA, PFBS, PFHxA) | EPA 1633 | Variable
Pentachloroethane | EPA 8260B | 0.4 | ug/L
Pesticides | EPA 508, EPA 608 | 0.0005 | mg/L
pH | SM 4500-H+ B | NA
Phencyclidine | EPA 525.2, EPA 625 | 0.0001 | mg/L
Pheophytin | SM 10200H | NA
Phosphorus, total | EPA 365.1 | 0.01 | mg/L
p-Isopropyltoluene | EPA 8260B | 0.4 | ug/L
Potassium | EPA 200.7 | 0.5 | mg/L
Salmonella | SM 9260 B | NA
SEC - Butylbenzene | EPA 8260B | 0.4 | ug/L
Selenium, total | EPA 200.7 | 0.025 | mg/L
Selenium, total | EPA 200.8 | 0.005 | mg/L
Selenium, dissolved | EPA 6020 | 0.005 | mg/L
Silica, dissolved | EPA 370.1 | 0.1 | mg/L
Silver, total | EPA 200.7 | 0.01 | mg/L
Silver, total | EPA 200.8 | 0.001 | mg/L
Silver, dissolved | EPA 6020 | 0.001 | mg/L
Sodium | EPA 200.7 | 0.5 | mg/L
Sodium | EPA 6010 B | 0.025 | mg/L
Specific Conductivity | SM 2510 B | 10 | uS/cm
Styrene | EPA 8260B | 0.4 | ug/L
Sulfate | EPA 300.0 | 0.2 | mg/L
Surfactants | EPA 425.1 | 0.1 | mg/L
tert-Butylbenzene | EPA 8260B | 0.4 | ug/L
Tetrachloroethylene | EPA 8260B | 0.4 | ug/L
Tetrahydrofuran | EPA 8260B | 2 | ug/L
Thallium, total | EPA 200.7 | 0.01 | mg/L
Thallium, total | EPA 200.8 | 0.001 | mg/L
Thallium, dissolved | EPA 6020 | 0.001 | mg/L
Toluene | EPA 8260B | 0.4 | ug/L
Total Coliforms | SM 9223 B | 2 | MPN/100 mL
Total Dissolved Solids | SM 2540 C | 20 | mg/L
Total Kjeldahl Nitrogen | SM 4500 NorgC | 0.3 | mg/L
Total Organic Carbon | SM 5310 B | 0.5 | mg/L
Total Organic Halides (TOX) | 9020B | 0.007 | mg/L
Total Phenols | SM 5530 D, EPA 420.1 | 0.005 | mg/L
Total Suspended Solids | SM2540 D | 4 | mg/L
Total Trihalomethanes (TTHMs) | EPA 524.2 | 0.4 | ug/L
trans-1,2-Dichlorothene | EPA 8260B | 0.4 | ug/L
trans-1,3-Dichloropropene | EPA 8260B | 0.4 | ug/L
trans-1,4-Dichlorobutene | EPA 8260B | 0.4 | ug/L
Tribromomethane | EPA 8260B | 0.4 | ug/L
Trichloroethylene | EPA 8260B | 0.4 | ug/L
Trichlorofluoromethane | EPA 8260B | 0.4 | ug/L
Turbidity | SM 2130 B | 0.1 | NTU
Vanadium, dissolved | EPA 6010 B | 0.001 | mg/L
Vinyl Chloride | EPA 8260B | 0.4 | ug/L
Vinyl Chloride | EPA 8260SIM | 0.01 | ug/L
Zinc, total | EPA 200.8 | 0.05 | mg/L
Zinc, dissolved | EPA 200.8 | 0.005 | mg/L
Filtering of dissolved metal samples

## Individual Analytes - Soil
Individual Analytes - Soil |  |  |  |  | † As listed or equivalent
Parameter | Method† | Practical Quantitation Limit |  | Unit Price
Ammonia-Nitrogen | EPA 350.1 Mod | 0.1 | mg/Kg
Arsenic, total | 6010B | 2 | mg/Kg
BETX | EPA 8260 B | 0.1 | mg/Kg
Cadmium, total | 6010B | 2 | mg/Kg
Cation Exchange Capacity | EPA 9081 | 0.03 | mg/Kg
Chromium, total | 6010B | 2 | mg/Kg
Dioxin | EPA 8290 | 1 | ng/Kg
E-coli | SM9221E | 20 | CFU/g
Extractable Petroleum Hydrocarbons (EPH) | WDOE | 2000 | μg/kg
Fecal Coliform (MPN) | SM9221 | < 2 | MPN/g
Herbicides | EPA 8151 | **Nominal Value
Lead, total | 6010B | 2 | mg/Kg
Mercury | EPA 7471 A | 0.03 | mg/Kg
Moisture in Solids | SM2540-G | 0.1 | %
Nickel | 6010B | 2 | mg/Kg
Nitrate and Arsenic | EPA 300M, EPA 6020 | 1, 1.25 | mg/Kg
Nitrate-Nitrogen | EPA 9056 | 0.1 | mg/Kg
NWTPH-Dx | NWTPH-Dx | 50 | mg/Kg
NWTPH-Gx | NWTPH-Gx | 50 | mg/kg
PAHs | EPA 8270 C | 0.1 | mg/Kg
PCBs | EPA 8082 | 1 | mg/Kg
PCBs (Oil) | EPA 600/4-81-045 | 1 | ppm
PCP | EPA 8270 C | 0.1 | mg/Kg
Pesticides | EPA 8081 A, EPA 8270 C | 0.1 | mg/Kg
pH | EPA 9045 A | NA | NA
Priority Pollutant Metals (13) | EPA 6020, EPA 7471 A | 0.03 | mg/Kg
Salmonella Present or Absent | EPA 92608 | NA | NA
Semi-Volatiles | EPA 8270 C | 0.1 | mg/Kg
TPH (Heavy Fuel Oil) | NWTPH-Dx | 100 | mg/Kg
TPH (Diesel) | NWTPH-Dx | 40 | mg/Kg
TPH (Gasoline) | NWTPH-Gx | 25 | mg/Kg
Volatile Petroleum Hydrocarbons (VPH) | WDOE | 5 | mg/kg
Zinc | 6010B | 2 | mg/Kg